## Instructions
INSTRUCTIONS: | Please see the sample simple loss form below. If the incident that you are reporting can be adequately described via the table below, please provide the appropriate information on the "Simple Loss" tab that is colored in blue below. If the incident that you are reporting cannot be adequately described on the "Simple Loss" tab, please complete all of the applicable tabs that are colored in red below.
[6 empty] | UPDATED | 2014-08-21
CLEAN-UP and REPAIR INFORMATION
EVENT DATE |  | July 2nd, 2014 discovered July 3rd
EVENT LOCATION & Dept. |  | Buckeye Hall College of kindness-Dept.
EVENT DESCRIPTION |  | De-ionized water line leak on west side of building on the 4th floor. Most of the damage was isolated to the northwest side of the building, a computer lab on the east side had some water damage. Significant damage in two 1st Fl classrooms; 2nd Fl conference room, offices, hallways including adjoining air chase; 3rd floor IS offices and adjoining offices/hallways. Wolverene Plumbing performed service on 7/2, this resulted is a leak which was discovered 7/3.
Please add additional rows as needed.
Vendor | Reference/Inv. | Item Description | Verified Cost | Estimated Cost | Additional Information
Olympus | 2012 | General custodial support | 2769.36 |  | immediate clean up post loss | p.o. 250505AA48
Stanley Steamer | 10342632 | Dry Vac's, air mover, dehumidifiers | 2462.08 |  | Rented Equipment only | p.o. 250505AA47
Dell |  | repurchase 3 desktops 5 monitors | 2367 |  | IT Computer 'like and kind' purchases | waiting in p.o.
Belfor |  | cleanup, drying, damaged building material removal |  | 20000 | p.o. 250505AA49
Belfor |  | repair dry wall, ceiling tile, painting |  | 6000 | included above
Loss Total |  |  | 7598.44 | 26000

## Simple Loss
UPDATED
Simple Loss
EVENT DATE
EVENT LOCATION & Dept.
EVENT DESCRIPTION
Please add additional rows as needed.
Vendor | Reference/Inv. | Item Description | Verified Cost | Estimated Cost | Additional Information
Loss Total |  |  | 0 | 0

## General
INCIDENT REPORTING FORM
Please provide all available information on all tabs:
EVENT DATE
EVENT LOCATION
EVENT DESCRIPTION
ROLL UP
Do not complete table below - calculations computed by program.
REPAIRS ands clean up | 0
Hourly LABOR | 0
RENT if necessary | 0
Contents / EQUIPMENT | 0
OTHER | 0
GRAND TOTAL | 0
Reimbursement if allowed is for like and kind materials, no upgrades
Please provide original invoices and proof of payment
It is acceptable to perform upgrades at this time, only pre-loss condition will be considered

## Repairs
INCIDENT REPORTING FORM
Clean up and REPAIR INFORMATION
EVENT DATE
EVENT LOCATION
EVENT DESCRIPTION
Please add additional rows as needed.
Please complete only one of the columns below
Building | Location | Damage Description | Actual invoiced Amount | Estimated Amount | Additional Information
Cunz Hall | Sample: 1841 Neil Ave. | replace defective solenoid valve |  |  | PR1811634/pd w/ pcard
|  | add pressure regulating valve |  |  | CPH did not pay
|  |  | 0 | 0
|  |  | Combined Total | 0
performed
inhouse outside contractor
If contracted, did we comply to purchasing regulations?
Please provide original invoices and proof of payment.

## Labor
INCIDENT REPORTING FORM
HOURLY LABOR INFORMATION
EVENT DATE
EVENT LOCATION
EVENT DESCRIPTION
Please add additional rows as needed.
Employee Name | Rate | Regular Hours | OT Hours | Total labor Cost | Benefit Rate | Total With Benefits | Additional Information
Sample: John Clark |  | 24 | 13 | 0 | 0% | 0
|  | 24 | 13 | 0 |  | 0
If allowed, only hourly employees are considered.
Please provide original invoices and proof of payment.

## Rent
INCIDENT REPORTING FORM
RENT INFORMATION
EVENT DATE
EVENT LOCATION
EVENT DESCRIPTION
Please add additional rows as needed.
Building/Item Rented | Rental Rate (per day) | Estimated Days | Estimated Amount | Additional Information
Sample: Laserjet 4000 |  |  | 0
0
0
0
0
0
0
0
0
|  | Total | 0
If necessary for space or equipment.
Please provide original invoices and proof of payment.

## Equipment
INCIDENT REPORTING FORM
Contents or EQUIPMENT INFORMATION
EVENT DATE
EVENT LOCATION
EVENT DESCRIPTION
Please add additional rows as needed.
|  |  | Please complete only one of the columns below |  | Original cost
Equipment | Location | Age | Verified Replacement Cost | Estimated Replacement Cost | Additional Information
Sample: Laserjet 4000 | Room 300 | 7 years | Unknown | 0
|  |  | 0 | 0
|  |  | Combined Total | 0
Please provide original invoices and proof of payment.

## Other
INCIDENT REPORTING FORM
OTHER INFORMATION
EVENT DATE
EVENT LOCATION
EVENT DESCRIPTION
Please add additional rows as needed.
Item Description | Verified Cost | Estimated Cost | Additional Information
| 0 | 0
| Combined Total | 0
Please provide original invoices and proof of payment.

## Mitigation cleanup
Vendor/Subcontractor Check List | [5 empty] | Dept.: FOD, Student Life, Athletics, Advancement, JSC, OSUMC other____________________________________________________
Date of Occurrence: | [5 empty] | Location: Bldg. Campus, Regional, other: ________________________________________________________________________________________ |  | Main Campus, Regional/other:____________________________________________________________ | [6 empty] | _____________________ | _____________
Date of response: | [6 empty] | This form shall be completed daily by an OSU employee, this will be used to verify vendors invoice
Brief Summary of event and damage:
Is the department displaced or requires temporary space: | [8 empty] | Estimated days to clean up and reopen:
Any valuables (OSU or personal) shall be secured, the location should be secured for safety and theft concerns. Pictures shall be taken immediately clean up (or ASAP)
of damaged area. If a police investigation should be conducted (i.e. vandalism) OSUPD should be notified ASAP.
Documentation of the Vendor Resources on site Labor and Equipment
Personnel
Laborers | Date: |  | Laborers | Date: |  | Laborers | Date: |  | Laborers | Date: |  | Laborers | Date:
Day | Evening | Night | Day | Evening | Night | Day | Evening | Night | Day | Evening | Night | Day | Evening | Night
Supervisors: |  |  | Supervisors: |  |  | Supervisors: |  |  | Supervisors: |  |  | Supervisors:
Day | Evening | Night | Day | Evening | Night | Day | Evening | Night | Day | Evening | Night | Day | Evening | Night
Equipment
Air Movers | working | off | Air Movers | working | off | Air Movers | working | off | Air Movers | working | off | Air Movers | working | off
Dehumidification |  |  | Dehumidification |  |  | Dehumidification |  |  | Dehumidification |  |  | Dehumidification
HEPA Air filter |  |  | HEPA Air filter |  |  | HEPA Air filter |  |  | HEPA Air filter |  |  | HEPA Air filter
Extraction Unit |  |  | Extraction Unit |  |  | Extraction Unit |  |  | Extraction Unit |  |  | Extraction Unit
Generator |  |  | Generator |  |  | Generator |  |  | Generator |  |  | Generator
Pump |  |  | Pump |  |  | Pump |  |  | Pump |  |  | Pump
freezer |  |  | freezer |  |  | freezer |  |  | freezer |  |  | freezer
Portable HVAC unit |  |  | Portable HVAC unit |  |  | Portable HVAC unit |  |  | Portable HVAC unit |  |  | Portable HVAC unit
other |  |  | other |  |  | other |  |  | other |  |  | other